Watts-Voltage

Aitken info

- All stainless steel clips, no ceramics to break.

- Large 0.425 Diameter Elements, affected less by air movements, plus higher sheath temperature results in more radiant efficiency.

- Components on all Aitken heaters are made in the USA. All replacement parts available for shipping within 24 hours.

- Replacement elements come complete with new mounting hardware, new element clips, and new reflector inserts.

Fostoria original info

- 0.430” Diameter Inconcel metal sheath envelope

- • Nickel-Chrome alloy coiled element imbedded in Magnesium Oxide insulating powder

- • Color temperature emitted: approx. 1600° F (dull orange glow)

- • Approximately 50% radiant efficiency

- • Slowest heat-up/cool-down

- • Moisture resistance: Lowest

- • Mechanical ruggedness: High

McMaster Carr   	4.5kw/ 208V  #1747K411

4.5kw/ 240V  #1747K421

4.5kw/ 480V    #1747441

2kw / 240V  #1747k531 / 631

2kw/ 480V  #1747K541

SPECTRUM ?

Substitute for Fostoria-TPI Models-Elements:

Substitute for Marley Models/ Elements:

Markel

Raywell

Reddi

Chromalox

Spectrum Infrared:

Works w/ FHK Models:  PORTABLE INFRARED HEATERS

CH MODELS ARE FIXED MODELS

CH & FHK model 220 & 620 use 2kw elements

Fits Fostoria Heater Model/  element P/N – perhaps add the heater model in “Description” or the replacement element P/N as such

Works w/ CH Models:  * For FHK models  FHK-220-1A & FHK-648-3A

2KW models

208V  CH220-1A,  CH-220-1C/,  CH-620-3A , CH-620-3 |    CH-2 ( 1 )  CH/ FHK-6 ( 3)	 (  OEM  P/N ) 04458302,  04457002, 04877702

FHK-220A-1A,   FHK-620-3A							Model element P/N  641-35661, 641-70241,  642-21002

240V  CH-224-1A,  CH-224-1C,  CH-624-3A,  CH-624-3C  | CH-2 (1),  CH / FHK-6 (3)	(  OEM  P/N ) 04457902,  04457102, 04877902

FHK224-1A,  FHK-624-3A							Model element P/N 641-35611,  641-70251,  642-21004

277V  CH-227-1A, CH-227-1C,  CH627-3A, CH-627-3C		Metal Sheath Element part # (  OEM Element P/N ) 04458402, 04457202, 04878002

FHK227-1A,  FHK-627-3A							Model element P/N 641-36051,  641-70261,  642-21005

480V  CH-248-1A, CH-248-1C,  CH-648-3A,  CH-648-3C	Metal Sheath Element part # (  OEM Element P/N ) 04458002, 04457302, 04878302

FHK-248-1A,  FHK-648-3A							Model element P/N 641-35621,  641-70271,  642-21008

600V CH-257-1A,  CH-257-1C,  CH-657-3A, CH-657-3C		Metal Sheath Element part # (  OEM Element P/N ) 04458802,  04457702, 04878402

FHK257-1A,  FHK-657-3A							Model element P/N 641-350011,  641-70281,  642-21009

4.5 KW models  *For CH /FHK-4 models  (1),  CH, FHK-13 ( 3)   ,  CH27 ( 6 )

208V  CH-420-1A, CH-420-1C,  CH-1320-3A, CH-1320-3B, CH-2720-3B, CH-2720-3C , FHK-420-1A & FHK-1324-3A

641-36061,  641-70001,  642-21010

Metal Sheath Element part # (  OEM Element P/N ) 04458502, 04455902, 04878502

240V  CH-424-1A, CH-424-1C,  CH-1324-3A, CH-1324-3B,  CH-2724-3B, CH-2724-3C,	FHK-424-1A & FHK-1324-3A,

641-35631,  641-70011, 642-21012

Metal Sheath Element part # (  OEM Element P/N ) 04458102, 04456002, 04878702

277V  CH-427-1A, CH-427-1C,  CH-1327-3A, CH-1327-3B, FHK427-1A, FHK-1327-3A

641-36071,  641-70021, 642-210013

Metal Sheath Element part # (  OEM Element P/N ) 04458602, 04456102,  04878802

480V  CH-448-1A, CH-448-1C,  CH-1348-3A, CH-1348-3B,   CH-2748-3B, CH-2748-3C,  FHK-448-1A, FHK-1348-3A

641-35641, 641-70031,  642-21016

Metal Sheath Element part # (  OEM Element P/N ) 04461702, 04456202, 04879102

600V  CH-457-1A, CH-457-1C,  CH-1357-3A, CH-1357-3B,  CH-2757-3B, CH-2757-3C,  FHK-427-1A,  FHK-1357-3A

641-50021,  641-70041,  642-21017

Metal Sheath Element part # (  OEM Element P/N ) 04458902,  04456602,  04879202

Do we ADD:

UPC 686334  ?  last 6 digits ie:  445832 ?

*Include replacement reflector and all necessary installation hardware included

Original item P/N:  641-44444 & 642-44444 ?

OEM Metal Sheath P/N

This element is a ALTERNATE COMPATIBLE REPLACEMENT & is NOT manufactured by Fostoria/ TPI. Fostoria / TPI has discontinued production of the INDIVIDUAL U-Rod replacemeent elements and do offer a comprehensive kit to replace ALL individual elements with one individual flat panel heating element. We will also be offering these kits as well.

These elements are manufactured in the USA by Aitken and are identical in performance specifications, size & method of installation. These replacment kits do include all necessary hardware for installing the replacement element.

We have found that many of our customers prefer the individual replacement elements for ease of maintaining & replacing. We have shared success with offering these elements as an ALTERNATE.

OEM P/N

GFP P/N

Original P/N

Other Models:

Models:  SG - DK

This element is a ALTERNATE COMPATIBLE REPLACEMENT & is NOT manufactured by Fostoria/ TPI.  Fostoria / TPI has discontinued production of the INDIVIDUAL U-Rod replacemeent elements and do offer a comprehensive kit to replace ALL individual elements with one individual flat panel heating element.  We will also be offering these kits as well.

These elements are manufactured in the USA by Aitken and are identical in performance specifications, size & method of installation.&nbsp; These replacment kits do include all necessary hardware for installing the replacement element.

We have found that many of our customers prefer the individual replacement elements for ease of maintaining & replacing.  We have shared success with offering these elements as an ALTERNATE.

*These replacement elements are USA made alternate options for the original model numbers referenced

- Fostoria/ TPI discontinued offering these elements several years ago and no longer manufacture these replacement models.

- These elements

- We have these replacement elements manufactured in USA and offer these as direct replacement elements available in 2kw & 4.5kw models.

- Installation is identical and easy

* This is our most popular replacement element and we are temporarily out of stock as of October 27, 2017. You can place your order and we will RESERVE & ship your order when our inventory arrives. It will likely be the second or third week of November ( we're hoping sooner ). We appreciate your consideration.

GFP:

This element is a Direct Replacement element (alternate option),  manufactured in USA by a company other than Fostoria/ TPI.

Fostoria / TPI has discontinued production of the INDIVIDUAL U-Rod replacement elements and do offer a comprehensive kit to replace ALL individual elements with one individual flat panel heating element. We will also be offering these kits as well.

These elements are manufactured in the USA, have identical performance specifications ( wattage, voltage & physical requirements ) & method of installation. This replacement kit does include one element, reflector and necessary hardware for installing the replacement.

We have found that many of our customers prefer the individual replacement elements for ease of maintaining & replacing.